FLAG intracellular staining

Version: November 10, 2013

Please cite:

- Fujita T, Asano Y, Ohtsuka J, Takada Y, Saito K, Ohki R, and Fujii H: Identification of telomere-associated molecules by engineered DNA-binding molecule-mediated chromatin immunoprecipitation (enChIP). Sci. Rep. (2013) 3, 3171.

Reagents

eBioscience (Thermo Fisher Scientific)

Fixation/Permeabilization Concentrate

Fixation/Permeabilizaion Diluent

10 x Permeabilization buffer

Sigma

anti-FLAG M2-FITC				F4049

-	Suspend 1 x 106 cells in 700 µl of freshly made Fixation/Permeabilization working solution.

Fixation/Permeabilization Concentrate	0.175 ml

Fixation/Permeabilizaion Diluent		0.525 ml

-	4°C for 30 min - 18 hr.

-	Wash (4,000 rpm, 1 min) with 700 µl and 1 ml of 1 x Permeabilization buffer

(total x 2).

10 x Permeabilization buffer		0.5 ml

DDW					4.5 ml

-	Suspend in 50 µl of diluted Ab (1/500 dilution).

anti-FLAG M2-FITC (1.1 µg/µl)	    1 µl

1 x Permeabilization buffer		499 µl

-	4°C, 30 min.

-	Wash with 1 ml of 1 x Permeabilization buffer x 2.

-	Suspend in 500 µl of FACS buffer to analyze.